**Lake Lovering Scout Reserve Emergency Plan**

**Location:**

**196 Chemin Miller North, Canton de Magog**

**General Information:**

**The main camp is equipped with a fire detection system connected to a central alarm company.**

**There are alarm pull switches located by the two emergency exits of the main camp.**

**Smoke detectors are located in all the cabins used as sleeping quarters.**

**Fire extinguishers are located by the doors of each cabin. These Extinguishers are stored in the main camp and are placed in the cabins by renters upon arrival.**

 **In the main hall fire extinguishers are located in the kitchen, by the bathrooms and by the main door/ exit.**

 **Upon discovery of Fire**

**>Evacuate the building, if in main hall, pull alarm when leaving by the exits.**

**> A person will be sent to call 9-1-1**

**>A person will be sent to notify cabins and all members using camp sites of fire**

**>All persons using the camp will meet at the Flag Pole located west of the Main**

**> In the case of a forest fire, person in charge may decide on the Waterfront Beach as a second meeting point.**

**>Person in charge will begin an entire camp headcount.**

**>In the case of a forest fire, person in charge will decide to remain at waterfront or leave property by trails leading to main roads until help arrives.**

**>Ensure roadways are clear for emergency response vehicles**